FPGA implementation of ECG signals using FIR filter

# Chapter 1: Introduction:

Electrocardiogram (ECG) signals are used to monitor the electrical activity of the heart and help in detecting cardiac diseases. However, ECG signals are often affected by noise such as power line interference and motion artifacts, which reduce signal accuracy. FIR filters are commonly used to remove this noise because of their stability and accurate filtering performance. In this project, an FPGA-based FIR filter is implemented to achieve fast, reliable, and real-time ECG signal processing with improved signal quality.

# Background:

Electrocardiogram (ECG) signals are widely used for monitoring heart activity and diagnosing cardiac diseases. Since ECG signals are weak and sensitive, they are often affected by noise such as power line interference, baseline wander, and muscle artifacts, which reduce signal accuracy. Digital filters are used to remove these unwanted noises, and FIR filters are commonly preferred because of their stability and ability to preserve important ECG waveform features. FPGA technology provides high-speed and real-time processing, making it suitable for implementing efficient ECG signal filtering systems for biomedical applications.

# Problem Statement:

ECG signals acquired from patients are often contaminated by unwanted noise such as power line interference, baseline drift, and muscle artifacts, which affect

the accuracy of cardiac analysis and diagnosis. Conventional software-based filtering methods may suffer from higher processing time and limited real-time performance. Therefore, there is a need to design and implement a hardware-efficient FPGA-based FIR filter that can effectively remove noise from ECG signals while preserving important waveform features and providing fast, accurate, and real-time signal processing.

# Objectives:

- To design an FIR filter for ECG signal denoising.

- To implement the FIR filter on an FPGA using Verilog/VHDL.

- To remove noise and power line interference from ECG signals.

- To achieve real-time and high-speed ECG processing.

- To optimize FPGA hardware resource utilization.

- To evaluate performance using Signal-to-Noise Ratio (SNR).

- To preserve important ECG waveform features during filtering